## Slide 1: ANAB Presentation to ANSC C63
Randy Long
Senior Manager of Accreditation
Calibration, EMC Testing/Inspection

## Slide 2
Number of organizations accredited to C63 standards – 17025: 29 (+1)
Top nonconforming issues to C63 standards – not currently tracked
Top nonconforming issues to accreditation standards and AB requirements
Common Technical findings:
  Technical Records
  Evaluating Uncertainty
  Amendments to Reports.
  Training Procedures

## Slide 3
Summary of AB Accreditation Schemes using C63 standards (i.e., 17025, 17065, etc.) and associated programs (FDA, FCC, ISED, etc.)
  17025 FCC – 26 (+0), 7 not in our program, 17065 - 6 (+1)
  17025 ISED – 23 (+0), 1 not in our program, 17065 - 5 (+1)
  FDA ASCA (non C63) – 13 (-1) Basic Safety